## Slide 1: Topic 1: Vulnerable Power Management
Power
Battery Support
Power Capping
Energy Opti.
Low Utilization
Time
Region-1
Region-2
Region-3
Region-4
Power Limit 4 (PL4)
Power Limit 3 (PL3)
Power Limit 2 (PL2)
Power Limit 1 (PL1)
ODC Power Trace Example
Energy Attack
- Prior work
Power Attack
- EPP [ISCA’16]
- PG [ICCD’18]
- DOPE [ICPP’19]
Notes: The first research topic is about power-related attacks and their defense approaches.
This picture shows the four main power management regions in ODC.
Based on different power thresholds, there are four regions including , power capping region, battery support region, energy optimization region, low utilization region.
Prior works have shown energy attack which tries to improve the electricity cost by wasting energy resources.
My works aims to show more powerful power-related attacks which can incur more severe damage like power outage or system failure.

## Slide 2: Topic 1: Vulnerable Power Management
Power
Battery Support
Power Capping
Energy Opti.
Low Utilization
Time
Region-1
Region-2
Region-3
Region-4
Power Limit 4 (PL4)
Power Limit 3 (PL3)
Power Limit 2 (PL2)
Power Limit 1 (PL1)
ODC Power Trace Example
Energy Attack
- Prior work
Power Attack
- EPP [ISCA’16]
- PG [ICCD’18]
- DOPE [ICPP’19]
Notes: The first research topic is about power-related attacks and their defense approaches.
This picture shows the four main power management regions in ODC.
Based on different power thresholds, there are four regions including , power capping region, battery support region, energy optimization region, low utilization region.
Prior works have shown energy attack which tries to improve the electricity cost by wasting energy resources.
My works aims to show more powerful power-related attacks which can incur more severe damage like power outage or system failure.

## Slide 3
Servers
PDU
UPS
Hypervisor
Host HW
Guest OS
VMs
Figure 3- Background
Slaves
Servers
Masters
Attacker
Servers
PDU
UPS
Masters
Attacker

## Slide 4
Servers
PDU
UPS
Hypervisor
Host HW
Guest OS
VMs
Figure 3- Background
Slaves
Servers
Masters
Attacker
Servers
PDU
UPS
Masters
Attacker

## Slide 5
…
Container
Service 1
Container
Service
Container Orchestrator
APB
…
Master
Deployment
NPS
Kernel
Device drivers
…
Off-Chip VR
Core
Core
Core
Core
VR
Core
VR
Core
VR
VR
VR
VR
Hardware
Fast Model Generation
Differentiated Power Allocation
On-chip Voltage Regulators
Native Performance Scaling
User Level
Kernel
…
Native Daemon
…
Microservice Processes
Tags
Decider
Allocator
Constructor
Calibrator
Transparent Tagging
.s-tag: ,
.h-tag: NPS-MSR
Agile Power Budgeting

## Slide 6
二分图：
Indegree
Dynamic Weight
Vertex
API
Application Service
x
x
x
x
x
x
Criticality
>threshold
Critical MS
<threshold
Non-critical MS
Request
m
l
…
…
n
Infrastructure
Service

## Slide 7
IOT/Edge Devices
Raspberry pi 3
GPU-Accelerated IoT Devices
Jason Nano
Jason NTX
ASIC-Accelerated IoT Devices
Movidius
NCS
EdgeTPU
KPU-Accelerated IoT Devices
Kendryte K210
Hardware Platforms

## Slide 8
IOT/Edge Devices
Raspberry pi 3
GPU-Accelerated IoT Devices
Jason Nano
Jason NTX
ASIC-Accelerated IoT Devices
Movidius
NCS
EdgeTPU
KPU-Accelerated IoT Devices
Kendryte K210
Hardware Platforms